## PM Tracker 2026
Outlet | City | Asset | Task | Freq | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Last Done | Done By | Notes
CAR | CHN | Fire Extinguisher | Refill / Service (agency) |  |  |  |  | 1 | [8 empty] | 08-May-26 | Sriram V
ANN | NCR | RO Plant | Check the RO water TDS | Weekly |  |  | 1 |  | ✓
WST | PUN | DG Set & AMF Panel | C Check | Yearly |  |  |  | 1 | [8 empty] | 04-Mar-26 | Vishal Ganpat Gorde
ANN | NCR | WIC | Check door heaters and clean gaskets |  | 1 |  |  | 1 |  |  | ✓ |  |  | 1 |  |  | 17-Feb-26 | Mohd Rizwan
CPM | CHN | Kitchen Exhaust Fan | Lubricate bearing |  | ✓ |  |  | ✓ |  |  | ✓ |  |  | 1
BTG | BLR | WIC | Clean Evaporators, Condenser & Area Around condensing unit
ARK | BLR | DG Set & AMF Panel | B Check |  | ✓ |  |  | ✓ |  |  | Y |  |  | ✓ |  |  | 11-Feb-26 | Avinash M S
CPM | CHN | A/C Plant | Measure supply and return CFM |  | Y | [5 empty] | ✓ | [5 empty] | 28-Feb-26 | Santhosh .
ADM | NCR | DG Set & AMF Panel | C Check |  |  |  |  | Y | [8 empty] | 08-Apr-26 | Ankit Gautam
ANN | NCR | Hot Line/Warmer | Check the Thermostat and High limit Switch Operatinal | Monthly | Y | ✓ | ✓ | ✓ | 1 | 1 | Y | ✓ | 1 | ✓ | ✓ | ✓ | 08-Jun-26 | Hetram Kumar
BAG | BLR | Fryers | Remove Burner Clean and Blower the Flow Flmaes and Remove Carbons | Qtrly | Y |  |  | ✓ |  |  | 1 |  |  | ✓ |  |  | 01-Jan-26 | Lingaraju R
ANN | NCR | AC | Measure supply and return CFM |  | ✓ | [5 empty] | Y | [5 empty] | 14-May-26 | Ajay Kumar
BTG | BLR | Fire Ext. | Refill / Service (agency) | Yearly
ARK | BLR |  | Pest control - agency visit | Monthly |  | 1 | ✓ | ✓ |  | 1 | ✓
WST | PUN | Hot Line/Warmer | Check Coil Condition |  | Y |  |  | 1 |  |  | ✓ |  |  | 1 |  |  | 08-Jun-26 | Vishal Ganpat Gorde
ANN | NCR | Fryers | Remove Burner Clean and Blower the Flow Flmaes and Remove Carbons |  | ✓ |  |  | Y |  |  | ✓ |  |  | 1 |  |  | 09-Feb-26 | Mohd Rizwan
ARK | BLR | Tortila Press | Check & Tighten internal & external electrical connections |  | Y | [5 empty] | 1 | [5 empty] | 27-May-26 | O Mahesha
CAR | CHN | DG Set & AMF Panel | B Check | Qtrly | ✓ |  |  | Y |  |  | ✓ |  |  | Y
BAG | BLR | Drain Lines / Grease Trap | Check the chamber no Grease buildups and clean | Weekly |  | 1 |  |  |  | 1 | [6 empty] | 12-Apr-26 | Lingaraju R
ADM | NCR | RO Plant | Check the RO water TDS | Weekly |  |  |  |  | 1 | ✓ | [6 empty] | 03-Jun-26 | Mohd Rizwan
AKA | HYD | Tortila Press | Check rocker cam for any damage | Qtrly | Y |  |  | ✓ |  |  | 1 |  |  | 1 |  |  | 01-Mar-26 | Suddala Abhinash
CAR | CHN | Hot Line/Warmer | Check Coil Condition |  | ✓ |  |  | Y |  |  | Y |  |  | Y
ADM | NCR | DG Set & AMF Panel | Radiator Cleaning |  | ✓ | Y | ✓ | 1 | ✓ | Y | Y | 1 | 1 | ✓ | Y | 1 | 10-Jun-26 | Ankit Gautam
AKA | HYD | Kitchen Exhaust Fan | Clean exhaust blower and housing | Monthly | ✓ | ✓ | ✓ | 1 | Y | Y | ✓ | Y | 1 | 1 | ✓ | 1 | 08-Apr-26 | B Shiva Kumar
ANN | NCR | Tortila Press | Check & Tighten internal & external electrical connections |  | ✓ | [5 empty] | Y
BTG | BLR | Fryers | Remove Burner Clean and Blower the Flow Flmaes and Remove Carbons
BTG | BLR | RO Plant | Service Agency PM
ADM | NCR | Drain Lines / Grease Trap | Check for any leakages |  | 1 | ✓ | Y | ✓ | Y | ✓ | ✓ | ✓ | Y | 1 | ✓ | ✓
ANN | NCR | Ice Cube Machine | Sanitize Water System & Ice Storage Bin | [15 empty] | freq?? ask maintenance
ADM | NCR | Drain Lines / Grease Trap | Check the chamber no Grease buildups and clean | Weekly |  |  | 1 |  |  |  | 1
WST | PUN | Fryers | Remove Burner Clean and Blower the Flow Flmaes and Remove Carbons |  | ✓ |  |  | 1 |  |  | Y |  |  | ✓ |  |  | 26-Jan-26 | Omkar Shankar Sutar
ANN | NCR | Drain Lines / Grease Trap | Check the chamber no Grease buildups and clean | Weekly | [5 empty] | ✓ |  | 1
ANN | NCR | RO Plant | Service Agency PM |  | ✓ |  |  | ✓ |  |  | ✓ |  |  | 1 |  |  | 14-May-26 | Amit Kumar
ATL | HYD | Chest Freezer | Check Gaskit condition and replace is required |  | ✓ |  |  | 1 |  |  | Y |  |  | 1 |  |  | 03-Apr-26 | Bairu Nava Vasanth Kumar
ARK | BLR | Kitchen Exhaust Fan | Lubricate bearing |  | ✓ |  |  | Y |  |  | ✓ |  |  | ✓ |  |  | 17-Mar-26 | Lingaraju R
ADM | NCR | Fire Extingushers | Refill / Service (agency) |  |  |  |  | ✓
ADM | NCR |  | Pest control - agency visit | Monthly | ✓ | ✓ | ✓ | 1 | ✓ | 1 | 1 |  | 1 | ✓
ATL | HYD | Kitchen Exhaust Fan | Lubricate bearing | Qtrly | Y |  |  | ✓ |  |  | ✓ |  |  | ✓
ADM | NCR | Fryers | Remove Burner Clean and Blower the Flow Flmaes and Remove Carbons |  | ✓ |  |  | ✓ |  |  | ✓ |  |  | 1
CAR | CHN | Tortila Press | Check & Tighten internal & external electrical connections |  | ✓ | [5 empty] | 1 | [5 empty] | 11-Feb-26 | Ponraj R
AKA | HYD | WIC | Check door heaters and clean gaskets |  | ✓ |  |  | 1 |  |  | 1 |  |  | ✓ |  |  | 08-Apr-26 | Samim Akhtar Ansari
BAG | BLR | Air Conditioner / AC Plant / FCU / AHU | Measure supply and return CFM |  | 1 | [5 empty] | Y | [5 empty] | 07-Jan-26 | Sujith Kumar H S
ATL | HYD | Kitchen Exhaust Fan | Clean exhaust blower and housing |  | 1 | ✓ | Y | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | 1 | 1 | ✓
ANN | NCR | Hot Line/Warmer | Check Coil Condition |  | ✓ |  |  | 1 |  |  | Y |  |  | ✓
ADM | NCR |  | Monthly deep clean - full store | Monthly | ✓ |  | ✓ | ✓ |  | ✓ | 1 | 1 |  | 1 | 1
AKA | HYD | Drain Lines / Grease Trap | Check for any leakages |  | 1 | ✓ | Y | ✓ | 1 | ✓ | Y | 1 | ✓ | Y | Y | 1 | 11-Mar-26 | B Shiva Kumar
BAG | BLR | DG Set & AMF Panel | C Check |  |  |  |  | ✓ | [8 empty] | 05-Jun-26 | O Mahesha
ARK | BLR | Air Conditioner / AC Plant / FCU / AHU | Measure supply and return CFM |  | 1 | [5 empty] | Y | [5 empty] | 07-May-26 | Lingaraju R
AKA | HYD |  | Monthly deep clean - full store | Monthly | 1 |  |  | ✓ | 1 | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓
CPM | CHN | RO Plant | Check the RO water TDS | Weekly |  |  |  | 1 | ✓ | [7 empty] | 24-Jun-26 | Ponraj R
ARK | BLR | A/C Plant | Clean Air Filters |  | Y | Y | ✓ | ✓ | Y | ✓ | ✓ | Y | 1 | ✓ | ✓ | ✓ | 13-Apr-26 | Sujith Kumar H S
CPM | CHN | DG Set & AMF Panel | B Check |  | ✓ |  |  | 1 |  |  | ✓ |  |  | ✓
ANN | NCR | Aircon Unit | Clean Air Filters |  | Y | 1 | Y | Y | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | 27-Apr-26 | Mohd Rizwan
BAG | BLR | Fryers | Check restraining cable and gas hose |  | ✓ | Y | ✓ | ✓ | ✓ | Y | Y | Y | 1 | ✓ | Y | Y | 14-Apr-26 | Pradeep Naik G
ATL | HYD | Aircon Unit | Measure supply and return CFM |  | ✓ | [5 empty] | ✓ | [5 empty] | 23-Feb-26 | Gadideshi Rajesh Kumar
BTG | BLR | Hot Line/Warmer | Check the Thermostat and High limit Switch Operatinal
AKA | HYD | Fire Extingushers | Fire extingusher in service and needle in green | Monthly | 1 | 1 | 1 | 1 | ✓ | Y | Y | 1 | 1 | ✓ | ✓ | ✓ | 20-May-26 | Samim Akhtar Ansari
AKA | HYD | RO Plant | Service Agency PM |  | 1 |  |  | ✓ |  |  | ✓ |  |  | ✓
BAG | BLR | AC | Clean Condenser and Evaporator coils with chemical |  | ✓ |  |  | ✓ |  |  | Y |  |  | Y |  |  | 15-Feb-26 | Sujith Kumar H S
AKA | HYD |  | Pest control - agency visit | Monthly | ✓ | 1 | ✓ |  | ✓ | ✓ | 1 | 1 | ✓ | 1 | 1 | 1
BTG | BLR | Aircon Unit | Clean Air Filters | Monthly
BAG | BLR | Kitchen Exhaust Fan | Clean exhaust blower and housing |  | 1 | 1 | 1 | ✓ | Y | ✓ | Y | ✓ | 1 | ✓ | Y | ✓ | 14-May-26 | Prajwal Lobo
WST | PUN | Aircon Unit | Clean Air Filters |  | ✓ | 1 | ✓ | ✓ | ✓ | 1 | ✓ | ✓ | 1 | 1 | ✓ | ✓ | 17-May-26 | Vishal Ganpat Gorde
BTG | BLR | Drain Lines / Grease Trap | Check the chamber no Grease buildups and clean | Weekly
CAR | CHN | Walk in Chiller | Check door heaters and clean gaskets |  | Y |  |  | 1 |  |  | Y |  |  | ✓ |  |  | 04-Mar-26 | Sriram V
ATL | HYD | Chest Freezer | Clean Condenser |  | ✓ | 1 | ✓ | Y | ✓ | ✓ | 1 | Y | Y | ✓ | ✓ | 1
ANN | NCR | DG Set & AMF Panel | Radiator Cleaning |  | ✓ | ✓ | 1 | Y | ✓ | ✓ | Y | ✓ | ✓ | ✓ | ✓ | ✓
CPM | CHN | A/C Plant | Clean Air Filters |  | ✓ | ✓ | 1 | ✓ | ✓ | Y | 1 | ✓ | ✓ | ✓ | Y | 1 | 27-Jan-26 | Ponraj R
ANN | NCR | WIC | Clean Evaporators, Condenser & Area Around condensing unit |  | 1 | ✓ | ✓ | 1 | 1 | ✓ | 1 | 1 | Y | ✓ | Y | ✓ | 26-Mar-26 | Amit Kumar
ADM | NCR | Air Conditioner / AC Plant / FCU / AHU | Clean Condenser and Evaporator coils with chemical | Qtrly | 1 |  |  | ✓ |  |  | ✓ |  |  | ✓ |  |  | 21-Mar-26 | Hetram Kumar
ANN | NCR | Fire Ext. | Fire extingusher in service and needle in green |  | ✓ | 1 | Y | Y | ✓ | ✓ | ✓ | 1 | ✓ | ✓ | 1 | ✓ | 17-Jun-26 | Azad Khan
ANN | NCR | Fryers | Check restraining cable and gas hose |  | 1 | ✓ | ✓ | ✓ | Y | ✓ | Y | ✓ | ✓ | 1 | Y | ✓ | 14-Apr-26 | Ajay Kumar
ARK | BLR | Hot Line/Warmer | Check the Thermostat and High limit Switch Operatinal | Monthly | ✓ | 1 | ✓ | 1 | 1 | 1 | ✓ | ✓ | Y | Y | ✓ | ✓
BAG | BLR | DG Set & AMF Panel | Battery Voltage Check |  | 1 | 1 | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | 1 | Y | 27-Apr-26 | Pradeep Naik G
AKA | HYD | DG Set & AMF Panel | B Check |  | ✓ |  |  | Y |  |  | Y |  |  | 1 |  |  | 23-Mar-26 | Bairu Nava Vasanth Kumar
WST | PUN | RO Plant | Service Agency PM |  | ✓ |  |  | ✓ |  |  | Y |  |  | ✓ |  |  | 04-Apr-26 | Omkar Shankar Sutar
ADM | NCR | Aircon Unit | Clean Air Filters |  | 1 | 1 | 1 | ✓ | 1 | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | 14-Jan-26 | Mohd Rizwan
CAR | CHN | Drain Lines / Grease Trap | Check for any leakages |  | ✓ | ✓ | 1 | ✓ | Y | 1 | Y | ✓ | ✓ | ✓ | Y | 1 | 20-Mar-26 | Ponraj R
ATL | HYD | RO Plant | Service Agency PM |  | 1 |  |  | 1 |  |  | 1 |  |  | ✓ |  |  | 18-Apr-26 | B Shiva Kumar
BAG | BLR | Fire Ext. | Refill / Service (agency) |  |  |  |  | ✓ | [8 empty] | 12-Jun-26 | Prajwal Lobo
WST | PUN | Chest Freezer | Clean Condenser |  | 1 | 1 | 1 | Y | 1 | 1 | ✓ | 1 | ✓ | Y | Y | Y | 16-Feb-26 | Omkar Shankar Sutar
ANN | NCR | DG Set & AMF Panel | B Check | Qtrly | ✓ |  |  | 1 |  |  | ✓ |  |  | 1 |  |  | 15-Apr-26 | Manoj Bediya
WST | PUN | Aircon Unit | Clean Condenser and Evaporator coils with chemical |  | ✓ |  |  | ✓ |  |  | ✓ |  |  | ✓
ADM | NCR | Tortila Press | Check rocker cam for any damage |  | Y |  |  | Y |  |  | ✓ |  |  | 1 |  |  | 13-Jan-26 | Manoj Bediya
ANN | NCR | Air Conditioner / AC Plant / FCU / AHU | Clean Condenser and Evaporator coils with chemical | Qtrly | ✓ |  |  | ✓ |  |  | ✓ |  |  | Y |  |  | 03-Mar-26 | Hari Prakash
WST | PUN |  | Pest control - agency visit | Monthly | 1 | 1 |  | ✓ | ✓ |  | 1 | ✓ | 1 |  | 1
WST | PUN | Drain Lines / Grease Trap | Check for any leakages | Monthly | ✓ | Y | ✓ | ✓ | ✓ | ✓ | Y | ✓ | 1 | ✓ | 1 | ✓ | 13-Jan-26 | Vishal Ganpat Gorde
CPM | CHN | DG Set & AMF Panel | C Check |  |  |  |  | 1
ANN | NCR | Kitchen Exhaust Fan | Clean exhaust blower and housing | Monthly | ✓ | ✓ | Y | Y | ✓ | Y | 1 | Y | Y | 1 | Y | Y
ADM | NCR | Walk-IN Chiller | Clean Evaporators, Condenser & Area Around condensing unit |  | ✓ | Y | Y | 1 | Y | ✓ | 1 | ✓ | 1 | 1 | ✓ | Y | 19-Jan-26 | Hetram Kumar
AKA | HYD | Chest Freezer | Clean Condenser |  | 1 | 1 | 1 | ✓ | ✓ | ✓ | Y | ✓ | 1 | ✓ | Y | Y
CAR | CHN | DG Set & AMF Panel | Radiator Cleaning |  | ✓ | ✓ | Y | Y | ✓ | ✓ | Y | ✓ | ✓ | Y | ✓ | ✓
CPM | CHN | Fryers | Remove Burner Clean and Blower the Flow Flmaes and Remove Carbons |  | ✓ |  |  | 1 |  |  | Y |  |  | ✓ |  |  | 10-Mar-26 | Ponraj R
WST | PUN | Walk in Chiller | Clean Evaporators, Condenser & Area Around condensing unit |  | Y | Y | ✓ | ✓ | ✓ | Y | ✓ | Y | Y | ✓ | 1 | ✓ | 13-Jun-26 | Omkar Shankar Sutar
WST | PUN | Chest Freezer | Check Gaskit condition and replace is required |  | 1 |  |  | ✓ |  |  | 1 |  |  | ✓ |  |  | 13-Feb-26 | Vishal Ganpat Gorde
ARK | BLR | Chest Freezer | Check Gaskit condition and replace is required |  | Y |  |  | ✓ |  |  | ✓ |  |  | Y |  |  | 24-Feb-26 | Muraleedhara S
CPM | CHN | Hot Line/Warmer | Check the Thermostat and High limit Switch Operatinal | Monthly | ✓ | Y | ✓ | ✓ | ✓ | ✓ | ✓ | Y | ✓ | 1 | 1 | ✓
AKA | HYD | Walk-IN Chiller | Clean Evaporators, Condenser & Area Around condensing unit |  | ✓ | ✓ | Y | ✓ | ✓ | ✓ | Y | ✓ | ✓ | Y | 1 | Y | 03-Jan-26 | Suddala Abhinash
ATL | HYD | A/C Plant | Clean Air Filters | Monthly | Y | Y | ✓ | 1 | 1 | Y | Y | 1 | 1 | 1 | 1 | ✓ | 25-Feb-26 | Shaik Mastan Pasha
ARK | BLR | RO Plant | Service Agency PM |  | 1 |  |  | ✓ |  |  | ✓ |  |  | ✓ |  |  | 27-Jan-26 | Avinash M S
AKA | HYD | Fryers | Check restraining cable and gas hose |  | ✓ | Y | 1 | Y | Y | Y | ✓ | Y | ✓ | Y | Y | ✓ | 09-Mar-26 | Gadideshi Rajesh Kumar
CAR | CHN | Tortila Press | Check rocker cam for any damage |  | 1 |  |  | Y |  |  | 1 |  |  | Y |  |  | 19-Jun-26 | Mohammed Ibrahim
CPM | CHN | Chest Freezer | Clean Condenser |  | Y | Y | Y | Y | ✓ | ✓ | ✓ | ✓ | 1 | ✓ | ✓ | 1 | 18-Apr-26 | Santhosh .
CPM | CHN | Hot Line/Warmer | Check Coil Condition |  | 1 |  |  | ✓ |  |  | ✓ |  |  | ✓ |  |  | 22-Feb-26 | Sriram V
WST | PUN | RO Plant | Check the RO water TDS | Weekly | ✓ |  | ✓ | [9 empty] | 09-Jun-26 | Vishal Ganpat Gorde
BTG | BLR | Kitchen Exhaust Fan | Clean exhaust blower and housing | Monthly
BAG | BLR | Hot Line/Warmer | Check Coil Condition |  | Y |  |  | 1 |  |  | 1 |  |  | 1 |  |  | 09-May-26 | Lubert N
WST | PUN |  | Monthly deep clean - full store | Monthly | 1 |  | ✓ |  |  | 1 | 1 |  |  | ✓ | 1 | ✓
CPM | CHN | Kitchen Exhaust Fan | Clean exhaust blower and housing |  | ✓ | ✓ | ✓ | 1 | 1 | ✓ | Y | 1 | ✓ | Y | Y | 1 | 07-Jun-26 | Santhosh .
CPM | CHN | Drain Lines / Grease Trap | Check the chamber no Grease buildups and clean | Weekly |  |  | ✓ | [5 empty] | ✓ |  |  |  | 28-Mar-26 | Mohammed Ibrahim
ANN | NCR | Kitchen Exhaust Fan | Lubricate bearing |  | ✓ |  |  | ✓ |  |  | 1 |  |  | Y |  |  | 01-Mar-26 | Ajay Kumar
ATL | HYD | Hot Line/Warmer | Check Coil Condition | Qtrly | Y |  |  | ✓ |  |  | ✓ |  |  | ✓
CPM | CHN | Fire Extingushers | Fire extingusher in service and needle in green |  | 1 | 1 | Y | ✓ | Y | ✓ | ✓ | ✓ | ✓ | 1 | Y | Y | 11-Feb-26 | Ponraj R
ARK | BLR | Chest Freezer | Clean Condenser |  | Y | Y | ✓ | ✓ | 1 | 1 | ✓ | 1 | 1 | ✓ | Y | ✓ | 23-Jan-26 | Aftab Ansari
CPM | CHN | Aircon Unit | Clean Condenser and Evaporator coils with chemical |  | ✓ |  |  | Y |  |  | Y |  |  | ✓ |  |  | 16-Apr-26 | Sriram V
CPM | CHN | RO Plant | Service Agency PM |  | ✓ |  |  | ✓ |  |  | ✓ |  |  | Y |  |  | 14-May-26 | Ponraj R
ARK | BLR | Hot Line/Warmer | Check Coil Condition |  | ✓ |  |  | ✓ |  |  | ✓ |  |  | Y |  |  | 18-Jun-26 | Sujith Kumar H S
CAR | CHN | RO Plant | Check the RO water TDS | Weekly | [5 empty] | ✓ | ✓ | [5 empty] | 12-Feb-26 | Santhosh .
ANN | NCR |  | Pest control - agency visit | Monthly | ✓ | ✓ | ✓ | 1 | ✓ | 1 | ✓ |  | 1 | ✓ | 1 | ✓
ADM | NCR | Chest Freezer | Clean Condenser |  | ✓ | 1 | Y | 1 | 1 | ✓ | ✓ | 1 | 1 | 1 | ✓ | 1 | 19-May-26 | Mukesh Kumar
BTG | BLR | Tortila Press | Check & Tighten internal & external electrical connections
CAR | CHN | Chest Freezer | Clean Condenser |  | ✓ | 1 | ✓ | 1 | ✓ | Y | ✓ | Y | Y | ✓ | Y | ✓ | 03-Mar-26 | Sriram V
AKA | HYD | Drain Lines / Grease Trap | Check the chamber no Grease buildups and clean | Weekly |  | 1 | [6 empty] | 1
AKA | HYD | Chest Freezer | Check Gaskit condition and replace is required |  | ✓ |  |  | ✓ |  |  | Y |  |  | 1 |  |  | 26-May-26 | Bairu Nava Vasanth Kumar
BTG | BLR | DG Set & AMF Panel | B Check | Qtrly
ATL | HYD |  | Pest control - agency visit | Monthly |  |  | ✓ | ✓ | ✓ |  | 1 | 1 | ✓ | 1 | ✓
AKA | HYD | DG Set & AMF Panel | Radiator Cleaning | Monthly | ✓ | Y | ✓ | 1 | ✓ | ✓ | 1 | ✓ | 1 | ✓ | 1 | ✓
BTG | BLR | AC | Measure supply and return CFM
ARK | BLR | A/C Plant | Clean Air filter |  | Y | Y | ✓ | ✓ | Y | ✓ | ✓ | Y | 1 | ✓ | ✓ | ✓ | 13-Apr-26 | Sujith Kumar H S | dup?
ARK | BLR |  | Monthly deep clean - full store | Monthly |  | ✓ | 1 | ✓ | ✓ | 1 |  | ✓ | 1 |  | ✓
CPM | CHN | Tortila Press | Check & Tighten internal & external electrical connections |  | 1 | [5 empty] | ✓ | [5 empty] | 27-Jan-26 | Mohammed Ibrahim
ADM | NCR | Kitchen Exhaust Fan | Clean exhaust blower and housing | Monthly | 1 | ✓ | 1 | ✓ | 1 | ✓ | 1 | ✓ | ✓ | ✓ | ✓ | Y | 08-Apr-26 | Sonu Vishwakarma
ADM | NCR | RO Plant | Service Agency PM | Qtrly | ✓ |  |  | Y |  |  | ✓ |  |  | ✓
ADM | NCR | Fire Ext. | Fire extingusher in service and needle in green |  | Y | ✓ | Y | ✓ | Y | ✓ | 1 | ✓ | 1 | ✓ | 1 | ✓ | 25-Feb-26 | Ajay Kumar
CPM | CHN | DG Set & AMF Panel | Radiator Cleaning |  | ✓ | ✓ | 1 | Y | ✓ | ✓ | Y | ✓ | Y | ✓ | ✓ | Y | 18-Jan-26 | Ponraj R
CAR | CHN | AC | Clean Air Filters | Monthly | ✓ | 1 | ✓ | 1 | ✓ | Y | ✓ | Y | ✓ | Y | Y | ✓ | 21-Feb-26 | Santhosh .
ARK | BLR | DG Set & AMF Panel | Radiator Cleaning | Monthly | 1 | 1 | ✓ | ✓ | 1 | ✓ | Y | 1 | ✓ | ✓ | ✓ | Y
ATL | HYD | WIC | Clean Evaporators, Condenser & Area Around condensing unit |  | 1 | Y | Y | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | 1 | 1 | ✓ | 01-May-26 | Samim Akhtar Ansari
AKA | HYD | Kitchen Exhaust Fan | Lubricate bearing |  | ✓ |  |  | ✓ |  |  | ✓ |  |  | 1 |  |  | 16-May-26 | Suddala Abhinash
BAG | BLR | Chest Freezer | Check Gaskit condition and replace is required |  | ✓ |  |  | Y |  |  | ✓ |  |  | ✓ |  |  | 01-May-26 | Aftab Ansari
ATL | HYD |  | Monthly deep clean - full store | Monthly | ✓ |  | 1 | ✓ |  | 1 | 1 | ✓ | ✓ | 1 | ✓ | 1
AKA | HYD | A/C Plant | Clean Air Filters |  | ✓ | ✓ | Y | ✓ | 1 | ✓ | ✓ | Y | Y | Y | 1 | ✓ | 06-May-26 | Suddala Abhinash
ANN | NCR | Chest Freezer | Clean Condenser |  | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | Y | Y | 1 | 1 | ✓ | 1 | 04-Apr-26 | Satyendra Kumar
ARK | BLR | Drain Lines / Grease Trap | Check the chamber no Grease buildups and clean | Weekly |  | ✓ |  |  |  | 1
ATL | HYD | Hot Line/Warmer | Check the Thermostat and High limit Switch Operatinal |  | ✓ | 1 | 1 | 1 | Y | ✓ | ✓ | Y | ✓ | Y | 1 | ✓ | 18-Apr-26 | Samim Akhtar Ansari
CAR | CHN | AC | Clean Condenser and Evaporator coils with chemical |  | Y |  |  | Y |  |  | ✓ |  |  | 1 |  |  | 28-Jun-26 | Santhosh .
CAR | CHN | AC | Measure supply and return CFM |  | ✓ | [5 empty] | ✓ | [5 empty] | 19-Apr-26 | Mohammed Ibrahim
ATL | HYD | RO Plant | Check the RO water TDS | Weekly |  |  |  |  | ✓ |  |  | ✓
BAG | BLR | Chest Freezer | Clean Condenser |  | Y | Y | ✓ | ✓ | Y | 1 | ✓ | 1 | 1 | Y | ✓ | 1
BTG | BLR | Hot Line/Warmer | Check Coil Condition
ADM | NCR | Tortila Press | Check & Tighten internal & external electrical connections |  | ✓ | [5 empty] | 1 | [5 empty] | 05-Jan-26 | Mukesh Kumar
BTG | BLR | Kitchen Exhaust Fan | Lubricate bearing
ATL | HYD | DG Set & AMF Panel | C Check | Yearly |  |  |  | Y | [8 empty] | 13-Jan-26 | Gadideshi Rajesh Kumar
ATL | HYD | Fire Extinguisher | Fire extingusher in service and needle in green |  | ✓ | Y | ✓ | ✓ | 1 | Y | Y | ✓ | ✓ | Y | Y | Y | 13-May-26 | Bairu Nava Vasanth Kumar
ARK | BLR | Drain Lines / Grease Trap | Check for any leakages |  | ✓ | Y | ✓ | Y | Y | ✓ | ✓ | ✓ | ✓ | ✓ | 1 | Y | 13-Jun-26 | Prajwal Lobo
ARK | BLR | Tortila Press | Check rocker cam for any damage |  | ✓ |  |  | Y |  |  | Y |  |  | 1
CAR | CHN | DG Set & AMF Panel | Battery Voltage Check |  | ✓ | 1 | 1 | ✓ | ✓ | 1 | Y | ✓ | ✓ | 1 | ✓ | ✓ | 05-Jun-26 | Mohammed Ibrahim
BTG | BLR | RO Plant | Check the RO water TDS | Weekly
BTG | BLR | Tortila Press | Check rocker cam for any damage
WST | PUN | Kitchen Exhaust Fan | Lubricate bearing |  | ✓ |  |  | Y |  |  | 1 |  |  | ✓ |  |  | 26-Jun-26 | Vishal Ganpat Gorde
BTG | BLR | DG Set & AMF Panel | Battery Voltage Check | Monthly
ARK | BLR | Kitchen Exhaust Fan | Clean exhaust blower and housing |  | Y | ✓ | Y | ✓ | Y | ✓ | ✓ | 1 | ✓ | ✓ | ✓ | ✓ | 18-Feb-26 | Sujith Kumar H S
CAR | CHN |  | Monthly deep clean - full store | Monthly | 1 | ✓ | ✓ |  | ✓ | ✓ | ✓ | ✓ | 1 | ✓ | 1
ANN | NCR | Chest Freezer | Check Gaskit condition and replace is required |  | ✓ |  |  | 1 |  |  | ✓ |  |  | 1 |  |  | 04-Jan-26 | Azad Khan
CAR | CHN | Walk-IN Chiller | Clean Evaporators, Condenser & Area Around condensing unit |  | 1 | 1 | 1 | 1 | ✓ | ✓ | ✓ | ✓ | 1 | 1 | Y | ✓ | 21-Mar-26 | Sriram V
WST | PUN | Fryers | Check restraining cable and gas hose |  | ✓ | 1 | Y | ✓ | Y | Y | ✓ | Y | Y | 1 | Y | Y | 11-Apr-26 | Vishal Ganpat Gorde
WST | PUN | Hot Line/Warmer | Check the Thermostat and High limit Switch Operatinal |  | Y | ✓ | ✓ | ✓ | ✓ | ✓ | Y | Y | ✓ | Y | ✓ | Y | 20-Jan-26 | Omkar Shankar Sutar
BTG | BLR | DG Set & AMF Panel | C Check
CPM | CHN | DG Set & AMF Panel | Battery Voltage Check |  | ✓ | ✓ | 1 | 1 | 1 | ✓ | ✓ | ✓ | ✓ | ✓ | Y | ✓
ADM | NCR | Hot Line/Warmer | Check the Thermostat and High limit Switch Operatinal |  | ✓ | Y | ✓ | Y | Y | ✓ | 1 | ✓ | Y | ✓ | ✓ | ✓ | 13-May-26 | Satyendra Kumar
ADM | NCR | A/C Plant | Measure supply and return CFM |  | 1 | [5 empty] | 1 | [5 empty] | 05-Jan-26 | Sonu Vishwakarma
AKA | HYD | RO Plant | Check the RO water TDS | Weekly | 1 |  | 1 | [9 empty] | 16-Jan-26 | Bairu Nava Vasanth Kumar
ARK | BLR | DG Set & AMF Panel | Battery Voltage Check |  | Y | 1 | ✓ | ✓ | ✓ | ✓ | Y | ✓ | 1 | ✓ | ✓ | ✓ | 14-Apr-26 | Lingaraju R
ARK | BLR | AC | Clean Condenser and Evaporator coils with chemical |  | ✓ |  |  | ✓ |  |  | ✓ |  |  | ✓
CPM | CHN | Drain Lines / Grease Trap | Check for any leakages | Monthly | ✓ | ✓ | ✓ | 1 | ✓ | ✓ | Y | ✓ | Y | 1 | 1 | ✓ | 01-Feb-26 | Santhosh .
BAG | BLR | Walk-IN Chiller | Check door heaters and clean gaskets |  | ✓ |  |  | Y |  |  | ✓ |  |  | ✓ |  |  | 22-Feb-26 | O Mahesha
CAR | CHN | DG Set & AMF Panel | C Check |  |  |  |  | ✓ | [8 empty] | 23-Apr-26 | Ponraj R
ADM | NCR | Chest Freezer | Check Gaskit condition and replace is required |  | 1 |  |  | Y |  |  | 1 |  |  | ✓ |  |  | 24-May-26 | Ashok Pandit
CAR | CHN | Hot Line/Warmer | Check the Thermostat and High limit Switch Operatinal |  | ✓ | Y | ✓ | Y | ✓ | ✓ | 1 | ✓ | ✓ | ✓ | Y | Y | 21-Jan-26 | Ponraj R
BTG | BLR | Drain Lines / Grease Trap | Check for any leakages
ADM | NCR | Fryers | Check restraining cable and gas hose |  | 1 | ✓ | 1 | Y | Y | ✓ | 1 | Y | ✓ | ✓ | ✓ | ✓
ATL | HYD | Drain Lines / Grease Trap | Check the chamber no Grease buildups and clean | Weekly | 1 |  | ✓
ANN | NCR | Tortila Press | Check rocker cam for any damage |  | ✓ |  |  | ✓ |  |  | ✓ |  |  | 1 |  |  | 01-Feb-26 | Sonu Vishwakarma
BAG | BLR | Drain Lines / Grease Trap | Check for any leakages | Monthly | ✓ | ✓ | ✓ | Y | Y | 1 | 1 | Y | ✓ | ✓ | ✓ | ✓ | 03-Jun-26 | Sujith Kumar H S
ARK | BLR | Fryers | Check restraining cable and gas hose | Monthly | Y | ✓ | ✓ | 1 | 1 | ✓ | ✓ | ✓ | Y | ✓ | ✓ | ✓ | 09-Jan-26 | Prajwal Lobo
ATL | HYD | DG Set & AMF Panel | Radiator Cleaning |  | 1 | 1 | Y | 1 | 1 | 1 | ✓ | 1 | ✓ | 1 | 1 | ✓ | 07-Jan-26 | Suddala Abhinash
BTG | BLR | AC | Clean Condenser and Evaporator coils with chemical
BAG | BLR | Kitchen Exhaust Fan | Lubricate bearing |  | ✓ |  |  | ✓ |  |  | ✓ |  |  | ✓
WST | PUN | Tortila Press | Check & Tighten internal & external electrical connections |  | ✓ | [5 empty] | Y
CPM | CHN | Chest Freezer | Check Gaskit condition and replace is required |  | 1 |  |  | 1 |  |  | ✓ |  |  | ✓
ARK | BLR | Fryers | Remove Burner Clean and Blower the Flow Flmaes and Remove Carbons |  | Y |  |  | ✓ |  |  | ✓ |  |  | ✓ |  |  | 21-Feb-26 | Aftab Ansari
ADM | NCR | DG Set & AMF Panel | B Check |  | Y |  |  | ✓ |  |  | Y |  |  | ✓ |  |  | 07-Feb-26 | Bablu Solanki
WST | PUN | Kitchen Exhaust Fan | Clean exhaust blower and housing |  | 1 | ✓ | ✓ | Y | 1 | ✓ | ✓ | Y | Y | ✓ | 1 | 1
BAG | BLR | Fire Ext. | Fire extingusher in service and needle in green |  | ✓ | 1 | 1 | 1 | ✓ | ✓ | Y | ✓ | 1 | 1 | Y | ✓ | 24-Feb-26 | Avinash M S
BTG | BLR | Fryers | Check restraining cable and gas hose
CAR | CHN | Kitchen Exhaust Fan | Lubricate bearing |  | ✓ |  |  | ✓ |  |  | ✓ |  |  | 1 |  |  | 24-Apr-26 | Mohammed Ibrahim
BAG | BLR | Hot Line/Warmer | Check the Thermostat and High limit Switch Operatinal |  | ✓ | Y | ✓ | ✓ | Y | ✓ | Y | Y | ✓ | Y | ✓ | Y
BTG | BLR | Fire Extingushers | Fire extingusher in service and needle in green | Monthly
BAG | BLR | Tortila Press | Check & Tighten internal & external electrical connections | 6 month | 1 | [5 empty] | 1 | [5 empty] | 11-May-26 | Pradeep Naik G
WST | PUN | Tortila Press | Check rocker cam for any damage |  | ✓ |  |  | ✓ |  |  | ✓ |  |  | 1 |  |  | 20-Apr-26 | Omkar Shankar Sutar
BAG | BLR | Aircon Unit | Clean Air Filters |  | ✓ | ✓ | Y | 1 | ✓ | ✓ | Y | ✓ | ✓ | ✓ | 1 | 1 | 17-May-26 | Prajwal Lobo
AKA | HYD | Fryers | Remove Burner Clean and Blower the Flow Flmaes and Remove Carbons |  | 1 |  |  | Y |  |  | ✓ |  |  | 1 |  |  | 02-Feb-26 | Suddala Abhinash
WST | PUN | Fire Extingushers | Fire extingusher in service and needle in green |  | 1 | Y | ✓ | Y | ✓ | Y | ✓ | ✓ | Y | Y | Y | Y
BAG | BLR | RO Plant | Service Agency PM |  | Y |  |  | ✓ |  |  | ✓ |  |  | Y
ADM | NCR | Kitchen Exhaust Fan | Lubricate bearing |  | Y |  |  | 1 |  |  | 1 |  |  | 1 |  |  | 16-Apr-26 | Manoj Bediya
ADM | NCR | Walk in Chiller | Check door heaters and clean gaskets | Qtrly | ✓ |  |  | Y |  |  | Y |  |  | Y |  |  | 25-Jan-26 | Amit Kumar
WST | PUN | DG Set & AMF Panel | Radiator Cleaning |  | 1 | ✓ | ✓ | Y | Y | Y | ✓ | 1 | Y | Y | ✓ | Y | 02-Jan-26 | Omkar Shankar Sutar
WST | PUN | AC | Measure supply and return CFM |  | 1 | [5 empty] | ✓ | [5 empty] | 26-May-26 | Vishal Ganpat Gorde
ARK | BLR | Fire Extingushers | Refill / Service (agency) |  |  |  |  | 1 | [8 empty] | 15-Apr-26 | Lingaraju R
ATL | HYD | Walk-IN Chiller | Check door heaters and clean gaskets |  | 1 |  |  | Y |  |  | 1 |  |  | ✓ |  |  | 20-Apr-26 | Bairu Nava Vasanth Kumar
BTG | BLR | Walk in Chiller | Check door heaters and clean gaskets
ATL | HYD | Fire Ext. | Refill / Service (agency) |  |  |  |  | ✓ | [8 empty] | 02-May-26 | Suddala Abhinash
CAR | CHN | Kitchen Exhaust Fan | Clean exhaust blower and housing |  | ✓ | Y | Y | ✓ | ✓ | ✓ | ✓ | Y | Y | ✓ | ✓ | Y | 05-May-26 | Sriram V
CAR | CHN |  | Pest control - agency visit | Monthly |  | ✓ | ✓ |  | ✓ | ✓ | 1 | ✓ | ✓ | 1 | ✓
BAG | BLR |  | Monthly deep clean - full store | Monthly | ✓ | ✓ | 1 | ✓ |  |  | ✓ | 1 | ✓ | ✓ | 1
ARK | BLR | Walk in Chiller | Check door heaters and clean gaskets |  | ✓ |  |  | ✓ |  |  | ✓ |  |  | ✓
ATL | HYD | Fryers | Check restraining cable and gas hose |  | ✓ | ✓ | ✓ | ✓ | 1 | ✓ | ✓ | ✓ | 1 | Y | ✓ | ✓
ATL | HYD | DG Set & AMF Panel | Battery Voltage Check |  | 1 | ✓ | Y | Y | 1 | ✓ | Y | Y | Y | 1 | ✓ | ✓ | 08-Mar-26 | Samim Akhtar Ansari
AKA | HYD | Tortila Press | Check & Tighten internal & external electrical connections |  | ✓ | [5 empty] | ✓
ADM | NCR | DG Set & AMF Panel | Battery Voltage Check |  | ✓ | Y | 1 | ✓ | Y | ✓ | Y | ✓ | 1 | ✓ | ✓ | Y
CPM | CHN | Fryers | Check restraining cable and gas hose |  | 1 | ✓ | ✓ | ✓ | ✓ | 1 | 1 | 1 | ✓ | 1 | 1 | ✓ | 01-Feb-26 | Santhosh .
WST | PUN | DG Set & AMF Panel | Battery Voltage Check |  | ✓ | ✓ | Y | 1 | ✓ | ✓ | ✓ | 1 | Y | Y | ✓ | ✓ | 10-Apr-26 | Vishal Ganpat Gorde
ATL | HYD | Drain Lines / Grease Trap | Check for any leakages |  | 1 | Y | Y | ✓ | Y | Y | ✓ | 1 | ✓ | Y | 1 | ✓
WST | PUN | Fire Extinguisher | Refill / Service (agency) |  |  |  |  | 1 | [8 empty] | 14-Jan-26 | Omkar Shankar Sutar
BTG | BLR | Chest Freezer | Clean Condenser
AKA | HYD | A/C Plant | Measure supply and return CFM | 6 month | Y | [5 empty] | Y | [5 empty] | 07-Jun-26 | B Shiva Kumar
ATL | HYD | Tortila Press | Check & Tighten internal & external electrical connections |  | ✓ | [5 empty] | 1
BTG | BLR | DG Set & AMF Panel | Radiator Cleaning
CAR | CHN | Drain Lines / Grease Trap | Check the chamber no Grease buildups and clean | Weekly | [8 empty] | ✓ | 1 |  |  | 10-May-26 | Mohammed Ibrahim
ANN | NCR | Fire Ext. | Refill / Service (agency) |  |  |  |  | ✓ | [8 empty] | 08-Mar-26 | Ankit Gautam
ARK | BLR | Fire Ext. | Fire extingusher in service and needle in green |  | ✓ | ✓ | 1 | ✓ | Y | ✓ | ✓ | ✓ | Y | Y | 1 | ✓ | 05-Jun-26 | Prajwal Lobo
BAG | BLR | RO Plant | Check the RO water TDS | Weekly |  |  |  | 1 | 1 | [7 empty] | 13-May-26 | Hardam Singh
CAR | CHN | Chest Freezer | Check Gaskit condition and replace is required |  | Y |  |  | 1 |  |  | 1 |  |  | ✓ |  |  | 08-Jan-26 | Sriram V
AKA | HYD | Hot Line/Warmer | Check Coil Condition |  | ✓ |  |  | ✓ |  |  | 1 |  |  | ✓
ARK | BLR | DG Set & AMF Panel | C Check |  |  |  |  | 1 | [8 empty] | 24-Jun-26 | Hardam Singh
WST | PUN | DG Set & AMF Panel | B Check |  | ✓ |  |  | ✓ |  |  | ✓ |  |  | ✓ |  |  | 11-Apr-26 | Vishal Ganpat Gorde
AKA | HYD | DG Set & AMF Panel | C Check |  |  |  |  | ✓ | [8 empty] | 06-Mar-26 | Suddala Abhinash
CAR | CHN | RO Plant | Service Agency PM |  | ✓ |  |  | ✓ |  |  | 1 |  |  | ✓ |  |  | 17-Mar-26 | Mohammed Ibrahim
ATL | HYD | AC | Clean Condenser and Evaporator coils with chemical |  | Y |  |  | ✓ |  |  | 1 |  |  | ✓ |  |  | 13-May-26 | Suddala Abhinash
ANN | NCR | DG Set & AMF Panel | Battery Voltage Check |  | Y | Y | 1 | 1 | ✓ | ✓ | ✓ | Y | ✓ | Y | ✓ | Y | 17-Feb-26 | Manoj Bediya
WST | PUN | Walk-IN Chiller | Check door heaters and clean gaskets | Qtrly | Y |  |  | Y |  |  | ✓ |  |  | Y |  |  | 11-Jan-26 | Omkar Shankar Sutar
WST | PUN | Drain Lines / Grease Trap | Check the chamber no Grease buildups and clean | Weekly | 1 |  |  |  | 1
AKA | HYD | Fire Extinguisher | Refill / Service (agency) |  |  |  |  | 1 | [8 empty] | 15-Apr-26 | Samim Akhtar Ansari
ANN | NCR | DG Set & AMF Panel | C Check | Yearly |  |  |  | ✓ | [8 empty] | 01-Apr-26 | Bablu Solanki
BAG | BLR |  | Pest control - agency visit | Monthly | ✓ |  | 1 |  | 1 | ✓ |  | ✓ |  | 1 | ✓
CAR | CHN | Fire Ext. | Fire extingusher in service and needle in green | Monthly | Y | Y | 1 | Y | 1 | Y | ✓ | ✓ | 1 | ✓ | ✓ | Y | 13-Feb-26 | Mohammed Ibrahim
ATL | HYD | DG Set & AMF Panel | B Check |  | ✓ |  |  | ✓ |  |  | 1 |  |  | ✓ |  |  | 12-Mar-26 | Bairu Nava Vasanth Kumar
CAR | CHN | Fryers | Remove Burner Clean and Blower the Flow Flmaes and Remove Carbons |  | ✓ |  |  | Y |  |  | ✓ |  |  | 1 |  |  | 17-Mar-26 | Sriram V
CPM | CHN |  | Pest control - agency visit | Monthly | ✓ | 1 | 1 |  | ✓ | 1 | ✓ | ✓ | ✓ | ✓ |  | ✓
CPM | CHN | Walk in Chiller | Check door heaters and clean gaskets |  | ✓ |  |  | 1 |  |  | ✓ |  |  | 1 |  |  | 23-Feb-26 | Sriram V
BAG | BLR | DG Set & AMF Panel | Radiator Cleaning |  | ✓ | ✓ | ✓ | 1 | 1 | ✓ | 1 | ✓ | ✓ | Y | ✓ | ✓ | 18-May-26 | Pradeep Naik G
CPM | CHN | Tortila Press | Check rocker cam for any damage |  | ✓ |  |  | ✓ |  |  | Y |  |  | ✓ |  |  | 22-Feb-26 | Santhosh .
ARK | BLR | WIC | Clean Evaporators, Condenser & Area Around condensing unit |  | ✓ | ✓ | Y | 1 | Y | ✓ | 1 | 1 | ✓ | 1 | ✓ | ✓ | 04-Apr-26 | Avinash M S
BAG | BLR | WIC | Clean Evaporators, Condenser & Area Around condensing unit | Monthly | ✓ | Y | ✓ | 1 | 1 | 1 | ✓ | 1 | ✓ | ✓ | Y | 1 | 25-Mar-26 | O Mahesha
AKA | HYD | DG Set & AMF Panel | Battery Voltage Check |  | 1 | 1 | Y | Y | ✓ | ✓ | 1 | Y | Y | ✓ | Y | 1 | 10-Mar-26 | Gadideshi Rajesh Kumar
CPM | CHN |  | Monthly deep clean - full store | Monthly | 1 | ✓ | ✓ | 1 | ✓ | 1 | ✓ | ✓ | 1 | 1 | 1 | ✓
CAR | CHN | Fryers | Check restraining cable and gas hose | Monthly | 1 | Y | Y | 1 | 1 | ✓ | ✓ | ✓ | Y | ✓ | ✓ | 1 | 01-Jun-26 | Santhosh .
AKA | HYD | Hot Line/Warmer | Check the Thermostat and High limit Switch Operatinal |  | Y | 1 | 1 | Y | 1 | 1 | Y | ✓ | ✓ | 1 | 1 | ✓
ARK | BLR | RO Plant | Check the RO water TDS | Weekly | [6 empty] | 1 |  |  |  | ✓ |  | 26-Feb-26 | Lingaraju R
ATL | HYD | Fryers | Remove Burner Clean and Blower the Flow Flmaes and Remove Carbons |  | Y |  |  | 1 |  |  | Y |  |  | ✓ |  |  | 20-Jun-26 | Shaik Mastan Pasha
CPM | CHN | Fire Extinguisher | Refill / Service (agency) |  |  |  |  | 1 | [8 empty] | 19-Mar-26 | Mohammed Ibrahim
ATL | HYD | Tortila Press | Check rocker cam for any damage |  | Y |  |  | ✓ |  |  | ✓ |  |  | ✓
AKA | HYD | AC | Clean Condenser and Evaporator coils with chemical |  | ✓ | 1 | Y | ✓ | 1 | 1 | Y | ✓ | ✓ | Y | 1 | ✓ | 23-Jun-26 | Shaik Mastan Pasha
BTG | BLR | Chest Freezer | Check Gaskit condition and replace is required | Qtrly
BAG | BLR | DG Set & AMF Panel | B Check | Qtrly | ✓ |  |  | ✓ |  |  | ✓ |  |  | ✓
ADM | NCR | Hot Line/Warmer | Check Coil Condition |  | Y |  |  | ✓ |  |  | 1 |  |  | ✓ |  |  | 24-Jan-26 | Bablu Solanki
ANN | NCR | Drain Lines / Grease Trap | Check for any leakages |  | ✓ | ✓ | 1 | 1 | Y | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ | 27-Mar-26 | Azad Khan
ANN | NCR |  | Monthly deep clean - full store | Monthly | 1 |  | ✓ | ✓ | ✓ |  |  |  | ✓ | 1 | 1
CPM | CHN | Walk-IN Chiller | Clean Evaporators, Condenser & Area Around condensing unit | Monthly | ✓ | 1 | Y | Y | Y | Y | 1 | ✓ | Y | Y | 1 | ✓ | 08-Jun-26 | Santhosh .
BAG | BLR | Tortila Press | Check rocker cam for any damage | Qtrly | ✓ |  |  | ✓ |  |  | 1 |  |  | Y |  |  | 02-Feb-26 | Sujith Kumar H S